File:/518 SMC CULTURE METHODS.doc

Last updated: 062003 BW

GROWTH MEDIA:

In general, once serum is added to the media, the media should be used within 2 weeks.  Serum-free media (SFM or ISFM) for the growth arrest protocol should be used within 1 week.  Warming and cooling causes growth factors in FBS and SFM to degrade.

DF10

- 1 bottle of 500 ml medium (DMEM/F12 Gibco 11320-033)

- 1 50 ml tube of FBS (final = 10%)

- 1 5 ml tube of pen/strep (final = 100 U/ml; Gibco 15140-122 10,000U/ml)

- 1 4 ml tube of L-glutamine (final = 1.6 mM; Gibco 25030-081 200mM stock)

Hepes optional – 5 ml 1M Hepes (final = 10 mM; Gibco 15630-080 1M stock)

SFM (serum-free medium)

- 1 bottle of 500 ml medium (DMEM/F12 Gibco 11320-033)

- 1 4 ml tube of L-glutamine (final = 1.6 mM; Gibco 25030-081 200mM stock)

- 1 2 ml tube of L-ascorbic acid (final = 0.2 mM; Sigma A4403)

- 1 2.5 ml tube of transferrin (final = 5 ug/ml; Sigma T5391)

- 1 2 ml tube of insulin (final = 2.8 ug/ml; Gibco 20 ug)

- 1 5 ml tube of pen/strep (final = 100 U/ml; Gibco 15140-122 10,000U/ml)

- 1 2.5 ml tube of Na-selenate (final = 6.25 ng/ml; Sigma 55261)

Hepes optional – 5 ml 1M Hepes (final = 10 mM; Gibco 15630-080 1M stock)

DMEM F12		L-glut		L-ascorbic acid	transferrin	insulin		Na-Se

500 ml			4		2			2.5		2		2.5

250			2		1			1.25		1		1.25

100			0.8		0.4			0.5		0.4		0.5

50			0.4		0.2			0.25		0.2		0.25

ISFM (insulin free SFM)

For use with PDGF-BB-induced suppression of SMGX in transfection assays.

- with-hold insulin from SFM recipe

Hepes (optional) – 5 ml 1M Hepes (final = 10 mM; Gibco 15630-080 1M stock)

THAWING 518s:

518 = rat aortic SMC isolated on 05-18-01

- Warm DF10 media to 37C.

- Remove frozen cells from freezer.  Immediately place in 37C water bath for 1-2 min or until the frozen cell suspension is slightly thawed.

- Clean tube with 70% EtOH and add frozen cell suspension to a 50 ml tube containing 10 ml warm DF10.

- Centrifuge 50 ml tube for 5-6 min at 1/2 speed.

- Aspirate supernatant and resuspend cells with 15 ml DF10.  Mix very well & transfer to T-75 flask.  Place in incubator.

- Observe cells after 24 hrs of growth and feed with fresh DF10.  When cells become 70% confluent, split and plate at 3 x103 /cm2 for continued passing.  Split them at least one time before plating for an experiment.

SPLITTING SMOOTH MUSCLE CELL 518:

518s are passaged (split) 2X/week at 3 x103/cm2. 518s are split when they are SUBCONFLUENT – 70% confluent.  If 518s become confluent, plating efficiency drops from 95% to 45%!

- Warm DF10 to 37C for 30 minutes in water bath.

- Aspirate the growth media from flask with 518s.

- Rinse cell layer with Ca2+ and Mg2+-free PBS, aspirate.

- Add 0.5X trysin/EDTA. Incubate 3-4 minutes.  Trypsin  (Gibco Cat #610-5405AE)

T-25 flask = 2 ml Trypsin.

T-75 flask = 4 ml Trypsin.

T-225 flask = 6 ml Trpysin

- Check for cell detachment in microscope

- Inactivate trypsin with equal amount of DF10. Vigorously rinse bottom of flask to dislodge cells; transfer to conical tube. Rinse flask again with DF10 if crucial to obtain all cells. Remove tiny aliquot and put the drop in hemacytometer.

- Spin tube with cells 1000 RPM for 5 minutes. While spinning, count cells and make calculations.

OWENS LAB:

- Count 5 major grids and note total number of cells.

- Total cells = (# counted in five grids) X  (2 x 103 cells/ml) X (cell suspension vol)

- Aspirate supernatant. Resuspend cells in DF10 with appropriate volume. Plate cells. Gently tap sides of dish to disperse cells evenly.

RESULTS:  In a T-225 flask, cells plated at 3 x103 cells/cm2 reach approx 5x106 cells total after 3-4 days of growth (this will vary with lab and user).  Never let the cells reach confluency!

GROWTH ARREST PROTOCOL:

To maximally up-regulate SMC differentiation markers use the following protocol.

Summarized from: Holycross and Owens.  PDGF-BB. Circ Res, 1992; Geisterfer and Owens. Angiotensin II. Circ Res, 1998.

1.  Plate cells in DF10 at 1.5 x 104 cells/cm2.

2.  Grow 4-5 days in DF10 until cells have reached confluency.  Change media every 2-3 days.

3.  Post confluency, wash cells 2X with PBS, 1X with SFM.

4.  Grow 5 days in SFM, changing media at day 2 and 4.

5.  Perform desired assay on day 5.

PDGF-BB Protocol:

This protocol was originally developed by Fred Dandre in the Owens Lab.

- Day 1: Plate cells in DF10 at 1.5x104 cells/cm2.

- Day 2: 24-30 hrs after plating the cells should be subconfluent, 70-80% confluent.  This is critical for 2 reasons:  a) SM-selective gene transcription is NOT decreased in response to PDGF-BB in confluent and post-confluent cells and b) subconfluency is required for FuGENE 6 transfections of plasmid (matrix production by confluent SMCs prevents cell uptake of FuGENE 6:DNA complex.

- Day 2: wash cells 1X with PBS and add ISFM.  ISFM is used and not SFM.

- Grow cells for 16-18 hrs in ISFM.  At this point transfections should be performed.

- Day 3: add PDGF-BB for 24 hrs (stock = 10 ug/ml or 10 ng/ul) to a final concentration of 30 ng/ml or 3 ul of stock per ml ISFM (3 ul x 10 ng/ul = 30 ng total in 1.0 ml).

- Day 4: terminate exp as needed for luciferase asay, protein extraction, RNA, etc.

TRANSFECTIONS with FuGENE 6:

See FuGENE 6 manual.pdf (BW) for more details.  Mark Hoofnagle has worked out the ratio of F6:DNA for 518s which is 3.0 ul of F6:1.0 ug plasmid DNA.

- See Table 1 for the amount of DNA required for efficient transfection in various plate sizes.  For this example, a 12 well plate will be used.  Typically, we transfect 0.5 – 1.0 ug total plasmid DNA per well of a 12 well plate.

- In a 1.5 ml tube, add media, plasmid DNA and F6 in this order so that the final volume of media+DNA+F6  to be added to each well is 25.0 ul.  For example, if you are transfecting 4 wells with the same plasmid DNA mix, make a stock up for 5 wells to account for any pipetting errors.

|  | Volume for 1 sample | 5 samples |
| --- | --- | --- |
| Media | 21.0 ul | 105 ul |
| Plasmid DNA (500 ng/ul) | 1.0 ul | 5.0 ul |
| FuGENE 6 | 3.0 ul | 15.0 ul |

- Pipette the mixture several times and then incubate at room temp for 20 min.

- During the 20 min procedure, change the media or wash the cells with PBS if required.

- Post 20 min incubation, add 25.0 ul of the mixture directly to the well and swirl several times.

- Carry out transfection incubation as desired.

NOTES:

  - For PDGF-BB exps, the transfection is done in ISFM and added to each well at the beginning of the 16-18 hr incubation in ISFM.  PDGF-BB is added after 16-18 hrs hours and lysates are harvested at the desired time point.

Luciferase assays with Promega Luciferase Assay E151A

This system is very easy to use and the work can be done outside of the tissue culture hood, i.e. at your bench.

- After the desired time of cell transfection, the cells are removed from the incubator.

- Dilute Promega 5X Passive Lysis Buffer with bottled water to 1X.

- Aspirtate media from each well and wash 2X with cold PBS (1X is sufficient).  Aspirate PBS after final wash.

- For a 12 well plate exp, add 180 ul of 1X Passive Lysis Buffer to each well and rock or shake at room temperature for 30 min.

- After 30 min, the lysates can be frozen at -20C for 1-2 days or -80C for longer periods.  OPTIONAL: lysates can be removed from the well and debris removed by spinning in a 1.5 ml tube.

- Perform luciferase assay (***Methods for 96 well plate luminometer still in progress)

- Perform protein assay with Pierce Coomassie Plus Protein Assay Reagent Kit (see manual)

  - In a 96 well flat bottom plate, add 10.0 ul of sample to a well.

  - Add 300 ul of CPPAR (room temperature) and shake for 30 secs.

  - Read absorbance at 595 nm.

Media volumes for growing cells:

Plate	Area (cm2)		Media Volume (ml)

6 well	9.5			2.0

12 well	3.8			1.0

24 well	1.9			0.5

48 well	0.8

96 well	0.32			0.1

150 mm	148			35

100 mm	55			15

60 mm	21			5.0

35 mm	8			2.0

T-225	225			50

T-150	150			35

T-75	75			15

T-25	25			5