Modified Russell-Movat Pentachrome

Samples should be fixed in 4% PFA for 24-48 hours, paraffin embedded and sectioned at 5 um sections

Solutions:

- 10% Alcoholic Hematoxylin (we use 5%)

25 grams of hematoxylin in 500mL of 100% ethanol

- 10% Ferric Chloride

50 grams Ferric Chloride in 500mL distilled water

- Verhoeff’s Iodine Solution

Measure 2.0 grams iodine and mix together with 4.0 grams potassium iodine

Slowly add 100mL distilled water (stirring often)

- Verhoeff’s Elastic Stain Working Solution – Make Fresh Every Time

Add IN THIS ORDER

100mL of 5% Alcoholic hematoxyln

50mL 10% Ferric Chloride

Mix well

50mL Verhoeff’s Iodine Solution

- 2% Ferric Chloride Differentiating Solution

100mL Ferric Chloride

400mL distilled water

- 5% Sodium Thiosulfate (Hypo) Solution

25 grams into 500mL distilled water

- 3% Glacial Acetic Acid

15mL galacial acetic acid into 485mL distilled water

- 1% Alcian Blue

5 grams of Alcian blue 8GS

485mL distilled water

15mL glacial acetic acid

- Crocein Scarlet-Acid Fuchsion Stock

Solution A

0.5 grams of Crocein Scarlett

497.5mL distilled water

2.5mL glacial acetic acid

Solution B

0.1  grams acid fuchsin

99.5mL distilled water

0.5mL glacial acetic acid

Crocein Scarlet-Acid Fuchsin Working Solution

5mL glacial acetic acid in 495mL distilled water

- 5% Phosphotungstic Acid Solution

25 grams in 500mL distilled water

- Alcoholic Saffron Solution – Make at least 24 hours before staining and allow to stir

15 grams Saffron du Gatinais

250mL 100% ethanol

Procedure

- Deparaffinize and hydrate slides to water;

5 min each xylene, xylene, 100% ethanol, 100% ethanol,

95% ethanol, 70% ethanol, water 2 changes.

- Stain in Verhoeff’s elastic stain working solution for 30 minutes. Alternative 	protocol:Stain in Verhoff’s elastic stain for 15-30 mins;

12 mins for rat balloon injuries.

- Place in lukewarm running water for 6-20 mins;

rat balloon injuries were in running water for 5 minutes.

- Place slides in distilled water for 5 minutes.

- Differentiate in 2% ferric chloride solution by dipping slides for 10 seconds. Quickly rinse in distilled water. Check slides under a microscope and determine whether or not to move on. 25 seconds for rat, 35 seconds for embryos. Check for differentiation.

- Place in 5% sodium thiosulfate solution for 1 minute.

- Wash in tap water for 5 minutes. Rinse with distilled water.

- Place in 3% glacial acetic acid solution for 3 minutes.

- Place directly in 1% alcian blue solution for 15-30 minutes.

- Rinse thoroughy in running warm tap water for 10 minutes. Rinse with distilled water.

- Stain in Crocein scarlet-acid fuchsin solution for 2 minutes.

- Rinse in two changes of distilled water (5 dips each).

- Rinse in 1% acetic acid solution (5 dips).

- Place in 5% phophotungstic acid for 1 minute.

- Rinse in 1% acetic acid solution (5 dips).

- Rinse in distilled water (5 dips).

- Rinse in 100% ethanol (5 dips).

- Dehydrate slides in 100% ethanol (2 changes 3 minutes each).

- Stain in alcoholic saffron solution for 15 minutes.

- Rinse slides in 100% ethanol (3 changes 3 minutes each).

- Rinse in xylenes (2 changes 3 minutes each).

- Mount with resinous medium (paramount, cytoseal).

Results

Nuclei……………………………………………black

Elastic fibers………………………………….black

Collagen………………………………………..yellow

Ground substance and mucins………blue to green

Muscle………………………………………….red

Fibrinoid……………………………………….intense red

Avoid exposure of saffron solution to water.